## Slide 1: Grid Research at BNL
Date 04/18/2023
Meng Yue
Renewables and Grid Modernization Group
Interdisciplinary Science Department

## Slide 2: Renewables and Grid Modernization Group
Cross-domain expertise:
  Large-scale dynamic system modeling and simulation
  Statistical analysis and modeling and probabilistic risk assessment
  Big data, AI/ML, and quantum technologies
  Cybersecurity
  Climate/weather modeling
Strategic collaborations with local utilities, universities, and national labs
Notes: Impact assessments of high penetration of renewables
Data analytics and machine learning in cybersecurity for energy forecasting and damage forecasting under severe weather conditions.
Probabilistic contingency analysis, uncertainties modeling and parameterization and quantification, optimization for transmission and generation planning, ESS sizing, siting, and operation.

## Slide 3: Grid Research Activities
Grid modeling and simulation
  OPAL-RT and a suite of commercial and in-house developed simulation tools
  Hybrid simulation and modeling adequacy
  Integrated energy system modeling
    Electricity, natural gas, hydrogen.
  Load modeling
  HVDC modeling for onshore/offshore wind farms
A. Yogarathnam, L. Karunaratne, N. R. Chaudhuri, and M. Yue, “Modeling Adequacy of Droop-Controlled Grid-Forming Converters for Transient Studies: Singular Perturbation Analysis,” 2023 IEEE PES Innovative Smart Grid Technologies Conference (ISGT2023).
T. Wu, J. Wang, and M. Yue, “On the Integration of Hydrogen into Integrated Energy Systems,” IEEE Open Access Journal of Power and Energy, Vol. 9, pp. 451-464, 2022
Y. Lin, J. Wang, and M. Yue, “Free-Form Dynamic Load Model Synthesis with Symbolic Regression Based on Sparse Dictionary Learning,” submitted to IEEE Transactions on Power Systems, under review.

## Slide 4: Grid Research Activities (cont’d)
Data analytics and ML/AI applications
  Data analytics and model-based anomaly detection and mitigation
  Damage estimation and forecasting under severe weather conditions
    Post-storm component outage nowcasting
    ML-based multi-day granular component outage forecast algorithm and tool implementation
    Improved outage estimation/forecasting using a data fusion scheme
M. Yue, T. Hong, and J. Wang, “Data Analytics Based Anomaly Detection in Time Series Data for Online Cybersecure Load Forecasting,” IEEE Transactions on Smart Grid, Vo. 1, No. 1, Jan. 2019.
J. Luo, T. Hong, and M. Yue, “Real-time Anomaly Detection for Very Short-Term Load Forecasting,” Journal of Modern Power Systems and Clean Energy, Vol 6, No 2, March 2018
M. Cui, J. Wang, and M. Yue, “Machine Learning Based Anomaly Detection for Load Forecasting under Cyberattacks,” IEEE Transactions on Smart Grid, Vol. 10, No. 5, January 2019.
T. Zhao, M. Yue, and J. Wang, “Robust Power System Stability Assessment against Adversarial Machine Learning-based cyberattacks via Online Purification,” accepted by IEEE Transactions on Power Systems.
M. Yue, T. Toto, M. P. Jensen, S. E. Giangrande, and R. Lofaro, “A Bayesian Approach Based Outage Prediction in Electric Utility Systems Using Radar Measurement Data,” IEEE Transactions on Smart Grid, Vol. 9, No. 6, November 2018.

## Slide 5: Grid Research Activities (cont’d)
Data analytics and ML/AI applications (cont’d)
  Online data-driven modeling and control
    Online prediction of state trajectories based on the real-time measurements and Deep-learning Neural Representation (DNR) framework that captures the dependence of generators
    Deep Koopman Inference Network
      Develop a linear dynamic surrogate of post-contingency transient dynamics using PMU data
      Online synthesis of stabilizing control
    Trustworthy reinforcement learning-based control
T. Zhao, M. Yue, and J. Wang, “Structure-informed Graph Learning of Networked Dependencies for Online Prediction of Power System Transient Dynamics,” IEEE Transactions on Power Systems, Vol. 37, No. 6, November 2022.
C. Moya, S. Zhang, G. Lin, and M. Yue, “DeepONet-Grid-UQ: A Trustworthy Deep Operator Framework for Predicting the Power Grid's Post-Fault Trajectories,” accepted by Neurocomputing.
T. Zhao, M. Yue, and J. Wang, “Deep Inference Learning of Koopman Model for Modeling and Controlling of Nonlinear Power System Transient Dynamics,” Accepted by IEEE Transactions on Industrial Informatics.
T. Zhao, J. Wang, and M. Yue, “A Barrier-certificated Reinforcement Learning Approach for Enhancing Power System Transient Stability,” accepted by the IEEE Transactions on Power Systems.

## Slide 6: Grid Research Activities (cont’d)
Probabilistic assessment and stochastic optimization (cont’d)
  Probabilistic contingency analysis (PCA)
  Framework for planning, operation, and control of hybrid renewable-ESSs
T. Zhao, N. Raghunathan, A. Yogarathnam, M Yue, and P. B. Luh, “A Scalable Planning Framework of Energy Storage Systems under Frequency Dynamics Constraints,” the International Journal of Electrical Power and Energy Systems, Vol. 145, February 2023.
D. Huang, T. Zhao, M. Yue, and J. Wang, “Two-Stage Adaptive Storage Expansion Strategy for Microgrids Using Deep Reinforcement Learning,” submitted to IEEE Transactions on Smart Grid, under review.
S. M. Mohiuddin, A. Yogarathnam, M. Yue, and J. Qi, “Droop-Free Distributed Frequency Control of Hybrid PV-BES Microgrid with SOC Balancing and Active Power Sharing,” IEEE PES General Meeting 2022.

## Slide 7: Grid Research Activities (Cont’d)
Dynamic assessment and control design
  High-speed ML and physics-informed transient assessment tool
    Operator learning-based surrogate model for generator dynamics to replace the numerical integration-based transient dynamics simulator
  Deep reinforcement learning (DRL)-based emergency control
    A fully distributed, graph-attention (GATT) multi-agent DRL framework for under-voltage load shedding
  Wind energy system control
    Data-driven wake steering control of wind turbines
    Coordination and control of hybrid renewable-ESS energy systems for frequency and voltage support
J. Li, Y. Zhao, and M. Yue, “Integrating Learning and Physics based Computation for Fast Online Transient Analysis,” 2023 IEEE PES ISGT2023.
J. Li, M. Yue, Y. Zhao, and G. Lin, “Machine-Learning-Based Online Transient Analysis via Iterative Computation of Generator Dynamics,” IEEE SmartGridComm, 2020.
Y. Zhang, M. Yue, and J. Wang, “Off-policy Deep Reinforcement Learning with Automatic Entropy Adjustment for Adaptive Online Grid Emergency Control,” accepted by Electric Power System Research, to appear.
Y. Zhang, M. Yue, and J. Wang, “Adaptive Load Shedding for Grid Emergency Control via Deep Reinforcement Learning,” IEEE PES General Meeting 2021.

## Slide 8
For More Information:
https://www.bnl.gov/isd/agm/index.php
Contact:
Meng Yue
Renewables and Grid Modernization Group
Brookhaven National Laboratory
Upton, NY 11973-5000
Email: yuemeng@bnl.gov
Phone: (631) 344-7140